## 36" - 47" Fans - 1 Phase
Circulation Fan Qualified Product List (QPL) | [7 empty] | Last Updated: 11/30/2016
This list is for the use of sponsors of Bess Labs in operation of their agricultural fan programs and is updated regularly. Please refer to the date last updated, and check www.bess.illinois.edu to ensure you are using the most current version. Colored cells indicate the model number is listed more than once on this list - the most efficient test # is always displayed in a non-colored cell.
18.7
Test # | Manufacturer | Model | Style | Size | Guard | Airflow (Thrust CFM) | Efficiency Ratio (Thrust CFM/W) | Thrust (LBF) | Input Power (kW) | Thrust Efficiency Ratio (LBF/kW) | 5D Centerline Velocity (FPM)
c11196 | American Coolair | NBC36J | Panel | 36" | N | 12340 | 23.7 | 12.5 | 0.52 | 24 | 960
c11197 | American Coolair | NBC36K | Panel | 36" | N | 13800 | 18.3 | 15.7 | 0.755 | 20.7 | 1200
c11195 | American Coolair | NBC36L | Panel | 36" | N | 16260 | 14.5 | 21.8 | 1.124 | 19.4 | 1260
c09238 | American Coolair | NCFA36J | Panel | 36" | N | 10940 | 22.1 | 10.2 | 0.495 | 20.7 | 790
c09239 | American Coolair | NCFAE36J | Panel | 36" | N | 10350 | 25.4 | 9.16 | 0.408 | 22.4 | 720
c09244 | American Coolair | NEF36J | Panel | 36" | N | 11280 | 21.9 | 10.8 | 0.516 | 21 | 1010
c09245 | American Coolair | NEFE36J | Panel | 36" | N | 10880 | 23.2 | 10.1 | 0.468 | 21.6 | 960
c15229 | J & D Manufacturing | VP36CA | Panel | 36" | N | 10000 | 21.4 | 8.78 | 0.468 | 18.8 | 680
c08010 | J & D Manufacturing | VP36D | Panel | 36" | N | 10430 | 21 | 9.36 | 0.497 | 18.8 | 780
c15223 | J & D Manufacturing | VP36DCA | Panel | 36" | N | 10740 | 20.9 | 10.1 | 0.514 | 19.7 | 800
c16422 | J & D Manufacturing | VP3631CA-E | Panel | 36" | N | 10520 | 21.5 | 9.78 | 0.49 | 20 | 750
c05271 | Munters Aerotech | AX365G1 | Panel | 36" | N | 11970 | 20.2 | 12.5 | 0.592 | 21.2 | 1160
c05276 | Munters Aerotech | AX36G1 | Box | 36" | N | 11170 | 19.7 | 10.9 | 0.566 | 19.2 | 980
c08061 | Munters Aerotech | AX36G1S | Panel | 36" | N | 11520 | 20 | 11.7 | 0.576 | 20.4 | 1160
c12033 | Munters Aerotech | CF361G1 | Box | 36" | N | 14410 | 14.6 | 18.5 | 0.984 | 18.8 | 1140
c12027 | Munters Aerotech | CF365G1 | Box | 36" | N | 11850 | 19.1 | 12.6 | 0.619 | 20.3 | 980
c14305 | Schaefer | 363P1 | Panel | 36" | N | 12240 | 17.5 | 13.1 | 0.7 | 18.7 | 1060
c08051 | Schaefer | 363P12DD | Panel | 36" | N | 10080 | 21 | 9.19 | 0.48 | 19.1 | 920
c14306 | Schaefer | 365P12 | Panel | 36" | N | 11030 | 22 | 10.6 | 0.502 | 21.2 | 900
c09204 | VES Environmental Solutions | PHVF3612-NG | Basket | 36" | N | 10100 | 24 | 8.98 | 0.42 | 21.4 | 910

## 48"+ Fans - 1 Phase
Circulation Fan Qualified Product List (QPL) | [7 empty] | Last Updated: 4/1/2016
This list is for the use of sponsors of Bess Labs in operation of their agricultural fan programs and is updated regularly. Please refer to the date last updated, and check www.bess.illinois.edu to ensure you are using the most current version. Colored cells indicate the model number is listed more than once on this list - the most efficient test # is always displayed in a non-colored cell.
23.1
Test # | Manufacturer | Model | Style | Size | Guard | Airflow (Thrust CFM) | Efficiency Ratio (Thrust CFM/W) | Thrust (LBF) | Input Power (kW) | Thrust Efficiency Ratio (LBF/kW) | 5D Centerline Velocity (FPM)
c10004 | Acme Engineering & Mfg. Corp | DC48J | Panel | 48" | N | 20200 | 25.5 | 20.4 | 0.792 | 25.7 | 940
c10009 | Acme Engineering & Mfg. Corp | DSF48-4J | Panel | 48" | N | 20800 | 23.9 | 21.6 | 0.869 | 24.9 | 960
c10007 | Acme Engineering & Mfg. Corp | DSF48-6J | Panel | 48" | N | 18300 | 26.3 | 16.6 | 0.695 | 23.9 | 800
c16051A | Agromatic/Pericoli | ADF53-1U | Panel | 53" | N | 20500 | 26.5 | 18 | 0.771 | 23.4 | 760
c11187 | American Coolair | NBC54L | Panel | 55" | N | 25400 | 25.5 | 23.9 | 0.996 | 24 | 760
C09222 | American Coolair | NBCBE52L | Panel | 52" | N | 22400 | 26.3 | 20.3 | 0.852 | 23.8 | 720
c11186 | American Coolair | NBCH54L | Panel | 55" | N | 27400 | 23.3 | 27.8 | 1.177 | 23.6 | 790
C09225 | American Coolair | NBRBE52L | Panel | 52" | N | 22600 | 26.2 | 20.6 | 0.863 | 23.8 | 790
c09210 | American Coolair | NCFE52L | Panel | 52" | N | 21800 | 28.6 | 19.4 | 0.761 | 25.5 | 700
c11181 | American Coolair | NEF54L | Panel | 55" | N | 25300 | 27.1 | 23.8 | 0.935 | 25.4 | 780
c11180 | American Coolair | NEF54M | Panel | 55" | N | 28300 | 22.4 | 29.8 | 1.266 | 23.5 | 850
c09237 | American Coolair | NEFB52L | Panel | 52" | N | 24500 | 22.8 | 24.9 | 1.074 | 23.2 | 840
c09236 | American Coolair | NEFBE52L | Panel | 52" | N | 23400 | 26.1 | 22.6 | 0.898 | 25.2 | 810
c11185 | American Coolair | NEFH54L | Panel | 55" | N | 26600 | 24.8 | 26.3 | 1.071 | 24.5 | 850
c14032 | GEA Farm Technologies, Inc. | 5131-5200-020 | Panel | 52" | N | 26700 | 20.7 | 29.9 | 1.293 | 23.1 | 1030
c13219 | GEA Farm Technologies, Inc. | 5131-5200-040 | Panel | 52" | N | 22700 | 28.3 | 21.2 | 0.801 | 26.4 | 800
c07284 | GEA Farm Technologies, Inc. | MP52L1 | Panel | 52" | N | 23300 | 25.1 | 22.3 | 0.927 | 24 | 930
c13218 | GEA Farm Technologies, Inc. | MP52L1A | Panel | 52" | N | 22700 | 29.2 | 21.3 | 0.78 | 27.3 | 800
c14053 | J & D Manufacturing | VPX50CA31011 | Panel | 50" | N | 23800 | 21.7 | 25.7 | 1.097 | 23.4 | 1110
c14052 | J & D Manufacturing | VPX50CA31011-E | Panel | 50" | N | 22700 | 23.9 | 23.5 | 0.951 | 24.7 | 1090
c14050 | J & D Manufacturing | VPX50GV31011 | Panel | 50" | N | 23700 | 22.9 | 25.3 | 1.035 | 24.4 | 1110
c14047 | J & D Manufacturing | VPX50GV61011 | Panel | 50" | N | 24200 | 21.1 | 26.4 | 1.144 | 23.1 | 1070
c15244 | J & D Manufacturing | VPX55GV31511-E | Panel | 55" | N | 29600 | 21.1 | 32.5 | 1.405 | 23.1 | 1160
c16241 | J & D Manufacturing | VPX55CA31511-E | Panel | 55" | N | 24400 | 25.1 | 22.4 | 0.973 | 23.1 | 930
c05268 | Munters Aerotech | AX481G1 | Panel | 48" | N | 24200 | 21.2 | 27.9 | 1.142 | 24.5 | 1220
c05266 | Munters Aerotech | GB4815G1 | Panel | 48" | N | 24900 | 20.8 | 29.7 | 1.199 | 24.7 | 1260
c05267 | Munters Aerotech | GB481G1 | Panel | 48" | N | 23700 | 21.5 | 26.9 | 1.104 | 24.3 | 1170
c05259 | Munters Aerotech | AX511G1 | Panel | 51" | N | 25900 | 21.2 | 28.8 | 1.22 | 23.6 | 1140
c12407 | Myn-fan | 52PG750 | Panel | 52" | N | 25700 | 24.5 | 27 | 1.048 | 25.7 | 1170
c12398 | Myn-fan | 54PC750 | Panel | 54" | N | 25900 | 23.5 | 26.1 | 1.102 | 23.7 | 950
c12397 | Myn-fan | 54PG750 | Panel | 54" | N | 26100 | 25.9 | 26 | 1.006 | 25.8 | 1010
c08047 | Schaefer | 483P1 | Panel | 48" | N | 22700 | 20.4 | 25.8 | 1.115 | 23.2 | 1180
c11002 | Schaefer | 523GP1 | Panel | 52" | N | 23700 | 26.6 | 23.9 | 0.891 | 26.8 | 1010
c14298 | Schaefer | 523GP112 | Panel | 52" | N | 26000 | 21.5 | 28 | 1.209 | 23.1 | 1110
c16074 | Schaefer | 523GP1-3- | Panel | 52" | N | 23200 | 24 | 22.3 | 0.967 | 23.1 | 1030
c11003 | Schaefer | 523GP1C | Panel | 52" | N | 22700 | 26.8 | 21.8 | 0.847 | 25.7 | 940
c08042 | Schaefer | 523P1 | Panel | 52" | N | 23700 | 24.4 | 24.3 | 0.97 | 25 | 1140
c08041 | Schaefer | 523P1C | Panel | 52" | N | 23700 | 25.2 | 24.3 | 0.941 | 25.9 | 1130
c12382 | Schaefer | 543GP1 | Panel | 54" | N | 24300 | 29.1 | 22.8 | 0.836 | 27.3 | 920
c14010 | Schaefer | 543GP112 | Panel | 54" | N | 29800 | 19.6 | 35.6 | 1.518 | 23.5 | 1230
c12383 | Schaefer | 545GP1 | Panel | 54" | N | 24900 | 30.9 | 23.8 | 0.805 | 29.6 | 800
c14009 | Schaefer | 545GP112 | Panel | 54" | N | 30000 | 19.9 | 36 | 1.513 | 23.8 | 1140
c12378 | Schaefer | 545GP112-HP | Panel | 54" | N | 29800 | 21.5 | 33.9 | 1.386 | 24.5 | 930
c16045 | Termotecnica Pericoli s.r.l. | ADF53-1L | Panel | 52" | N | 22200 | 24.4 | 21.3 | 0.912 | 23.4 | 850
c16051 | Termotecnica Pericoli s.r.l. | ADF53-1U | Panel | 53" | N | 20500 | 26.5 | 18 | 0.771 | 23.4 | 760

## 36" - 47" Fans - 3 Phase
Circulation Fan Qualified Product List (QPL) | [7 empty] | Last Updated: 11/30/2016
This list is for the use of sponsors of Bess Labs in operation of their agricultural fan programs and is updated regularly. Please refer to the date last updated, and check www.bess.illinois.edu to ensure you are using the most current version. Colored cells indicate the model number is listed more than once on this list - the most efficient test # is always displayed in a non-colored cell.
18.7
Test # | Manufacturer | Model | Style | Size | Guard | Airflow (Thrust CFM) | Efficiency Ratio (Thrust CFM/W) | Thrust (LBF) | Input Power (kW) | Thrust Efficiency Ratio (LBF/kW) | 5D Centerline Velocity (FPM)
c09040ag | Agromatic/Pericoli | EFB36 | Box | 36" | N | 12140 | 19 | 13.1 | 0.64 | 20.5 | 1120
c11192 | American Coolair | NBC36J | Panel | 36" | N | 11920 | 21.5 | 11.7 | 0.555 | 21.1 | 970
c11193 | American Coolair | NBC36K | Panel | 36" | N | 13730 | 17.1 | 15.5 | 0.801 | 19.4 | 1120
c09241 | American Coolair | NCFA36J | Panel | 36" | N | 10250 | 25.2 | 8.98 | 0.407 | 22.1 | 730
c09240 | American Coolair | NCFAE36J | Panel | 36" | N | 11310 | 24 | 10.9 | 0.472 | 23.1 | 660
c09242 | American Coolair | NEF36J | Panel | 36" | N | 11120 | 21.1 | 10.6 | 0.527 | 20 | 1010
c09243 | American Coolair | NEFE36J | Panel | 36" | N | 10970 | 22.5 | 10.2 | 0.487 | 21 | 920
c15042 | Artex Barn Solutions, Ltd. | 36" basket | Basket | 36" | Y | 9800 | 22.8 | 9.05 | 0.43 | 21.1 | 1110
c07286 | GEA Farm Technologies, Inc. | MP36L3 | Panel | 36" | N | 11730 | 20.3 | 11.9 | 0.577 | 20.6 | 1120
c09021 | J & D Manufacturing | VG36DM3F-22 | Box | 36" | Y | 10320 | 21 | 9.68 | 0.491 | 19.7 | 880
c15225 | J & D Manufacturing | VP3631-E | Panel | 36" | N | 10540 | 23.5 | 9.64 | 0.448 | 21.5 | 700
c15228 | J & D Manufacturing | VP3631 | Panel | 36" | N | 13170 | 17.2 | 15.1 | 0.767 | 19.6 | 900
c08007 | J & D Manufacturing | VP363D | Panel | 36" | N | 10420 | 21.8 | 9.29 | 0.478 | 19.4 | 820
c15224 | J & D Manufacturing | VP363DCA | Panel | 36" | N | 10560 | 24.2 | 9.77 | 0.437 | 22.4 | 790
c16433 | J & D Manufacturing | VG363CA | Box | 36" | Y | 9810 | 21.8 | 8.42 | 0.449 | 18.8 | 770
c08065 | Munters Aerotech | AX365G3 | Panel | 36" | N | 11870 | 19.4 | 12.6 | 0.613 | 20.6 | 1150
c08062 | Munters Aerotech | AX36G3S | Panel | 36" | N | 11450 | 21.2 | 11.6 | 0.539 | 21.6 | 1160
c08064 | Munters Aerotech | GB36G3 | Panel | 36" | N | 10610 | 21 | 10.1 | 0.505 | 20 | 1080
c08052 | Schaefer | 363P12DD-3 | Panel | 36" | N | 9810 | 22.8 | 8.71 | 0.43 | 20.3 | 910
c15067 | Schaefer | 363P12DD-3V | Panel | 36" | N | 9160 | 25.5 | 7.66 | 0.359 | 21.3 | 940
c15065 | Schaefer | 365P12-3V | Panel | 36" | N | 10460 | 20.7 | 9.99 | 0.505 | 19.8 | 950
c09040 | Termotecnica Pericoli s.r.l. | EFB36 | Box | 36" | N | 12140 | 19 | 13.1 | 0.64 | 20.5 | 1120
c09209 | VES Environmental Solutions | HVB36123P | Basket | 36" | Y | 9430 | 23 | 7.82 | 0.41 | 19.1 | 790
c09199 | VES Environmental Solutions | PHVF36123P | Tube | 36" | Y | 9700 | 22.8 | 8.32 | 0.425 | 19.6 | 960
c09200 | VES Environmental Solutions | PHVF36123P-NG | Tube | 36" | N | 10570 | 26.8 | 9.87 | 0.395 | 25 | 1000

## 48"+ Fans - 3 Phase
Circulation Fan Qualified Product List (QPL) | [7 empty] | Last Updated: 11/30/2016
This list is for the use of sponsors of Bess Labs in operation of their agricultural fan programs and is updated regularly. Please refer to the date last updated, and check www.bess.illinois.edu to ensure you are using the most current version. Colored cells indicate the model number is listed more than once on this list - the most efficient test # is always displayed in a non-colored cell.
23.1
Test # | Manufacturer | Model | Style | Size | Guard | Airflow (Thrust CFM) | Efficiency Ratio (Thrust CFM/W) | Thrust (LBF) | Input Power (kW) | Thrust Efficiency Ratio (LBF/kW) | 5D Centerline Velocity (FPM)
c10003 | Acme Engineering & Mfg. Corp | DC48J | Panel | 48" | N | 19100 | 26.5 | 18.1 | 0.722 | 25 | 930
c10002 | Acme Engineering & Mfg. Corp | DC54J | Panel | 54" | N | 25600 | 24.2 | 25.9 | 1.059 | 24.4 | 800
c16049A | Agromatic/Pericoli | ADF53-3U | Panel | 53" | N | 21900 | 25 | 20.6 | 0.877 | 23.5 | 860
C09218 | American Coolair | NBCB52L | Panel | 52" | N | 23900 | 24.1 | 23 | 0.993 | 23.2 | 750
C09219 | American Coolair | NBCBE52L | Panel | 52" | N | 22400 | 26.8 | 20.4 | 0.837 | 24.4 | 750
c09228 | American Coolair | NBRBE52L | Panel | 52" | N | 22600 | 26.2 | 21.1 | 0.862 | 24.5 | 800
c09217 | American Coolair | NCF52L | Panel | 52" | N | 24400 | 23.4 | 24.3 | 1.044 | 23.3 | 790
c09215 | American Coolair | NCFE52L | Panel | 52" | N | 21300 | 27.7 | 18.5 | 0.77 | 24.1 | 670
c11182 | American Coolair | NEF54L | Panel | 55" | N | 25100 | 26.6 | 23.3 | 0.942 | 24.8 | 790
c11184 | American Coolair | NEF54M | Panel | 55" | N | 28600 | 22.9 | 30.4 | 1.247 | 24.3 | 930
c09230 | American Coolair | NEFB52L | Panel | 52" | N | 24400 | 23.7 | 24.5 | 1.03 | 23.8 | 950
c09231 | American Coolair | NEFBE52 | Panel | 52" | N | 23000 | 26.5 | 21.8 | 0.867 | 25.2 | 850
c11183 | American Coolair | NEFH54L | Panel | 55" | N | 26200 | 24.1 | 25.6 | 1.089 | 23.5 | 760
c16025 | Artex Barn Solutions, Ltd. | 90312 w/short belt | Panel | 55" | N | 22900 | 26.3 | 20.32 | 0.871 | 23.3 | 890
c14030 | GEA Farm Technologies, Inc. | 5131-5200-030 | Panel | 52" | N | 25000 | 22.4 | 26.3 | 1.118 | 23.5 | 930
c13224 | GEA Farm Technologies, Inc. | 5131-5200-050 | Panel | 52" | N | 22700 | 28.9 | 21.1 | 0.785 | 26.8 | 820
c14026 | GEA Farm Technologies, Inc. | 5131-5200-090 | Panel | 52" | N | 22900 | 24.5 | 22.1 | 0.937 | 23.6 | 860
c07285 | GEA Farm Technologies, Inc. | MP52L3 | Panel | 52" | N | 23200 | 27.6 | 22.2 | 0.84 | 26.4 | 1010
c14041 | J & D Manufacturing | VPX50GV31031 | Panel | 50" | N | 23000 | 27.7 | 24.7 | 0.828 | 29.8 | 1050
c14044 | J & D Manufacturing | VP503CA | Panel | 50" | N | 24100 | 21.3 | 26.8 | 1.13 | 23.7 | 1140
c14046 | J & D Manufacturing | VP506G3-E | Panel | 50" | N | 24400 | 20.7 | 27.3 | 1.179 | 23.2 | 1050
c16417 | J & D Manufacturing | VPX50GV31531-E | Panel | 50" | N | 23300 | 22.6 | 24.7 | 1.031 | 24 | 1060
c14067 | J & D Manufacturing | VP55G123 | Panel | 55" | N | 30600 | 21 | 35.7 | 1.455 | 24.5 | 1210
c14271 | J & D Manufacturing | VPX55CA31531-E | Panel | 55" | N | 28000 | 22.4 | 29.2 | 1.247 | 23.4 | 1100
c14279 | J & D Manufacturing | VPX55CA32031-E | Panel | 55" | N | 28000 | 23 | 29.3 | 1.214 | 24.1 | 1040
c14068 | J & D Manufacturing | VPX55GV32031 | Panel | 55" | N | 30600 | 21.4 | 35.8 | 1.432 | 25 | 1210
c14275 | J & D Manufacturing | VPX55GV52031-E | Panel | 55" | N | 29000 | 22 | 31.4 | 1.319 | 23.8 | 1040
c05264 | Munters Aerotech | AX481G3 | Panel | 48" | N | 24700 | 21.5 | 29.2 | 1.151 | 25.4 | 1270
c05262 | Munters Aerotech | AX5115G3 | Panel | 51" | N | 28000 | 19.4 | 33.6 | 1.441 | 23.3 | 1200
c05260 | Munters Aerotech | AX511G3 | Panel | 51" | N | 25900 | 21.1 | 28.9 | 1.228 | 23.5 | 1150
c13236 | Munters Aerotech | AX51DG23-HE | Panel | 51" | N | 25800 | 25.6 | 29 | 1.007 | 28.8 | 960
c13238 | Munters Aerotech | AX51DG23-HR | Panel | 51" | N | 27900 | 22.1 | 33.9 | 1.263 | 26.9 | 1020
c08068 | Munters Aerotech | GB481G3 | Panel | 48" | N | 23500 | 21.2 | 27.9 | 1.109 | 25.2 | 1310
c12418 | Myn-fan | 52PC750T | Panel | 52" | N | 24700 | 23.2 | 24.8 | 1.063 | 23.4 | 1040
c12404 | Myn-fan | 52PG750T | Panel | 52" | N | 25900 | 25.3 | 27.1 | 1.025 | 26.5 | 1190
c12400 | Myn-fan | 54PC750T | Panel | 54" | N | 25900 | 24.2 | 26 | 1.07 | 24.3 | 960
c12401 | Myn-fan | 54PG750T | Panel | 54" | N | 26000 | 26.8 | 25.6 | 0.97 | 26.4 | 970
c15068 | Schaefer | 483P34-3V | Panel | 48" | N | 18900 | 26.7 | 18.3 | 0.707 | 25.9 | 1070
c15069 | Schaefer | 485P34-3V | Panel | 48" | N | 20000 | 25.4 | 20.5 | 0.787 | 26 | 1010
c11006 | Schaefer | 523GP112-3 | Panel | 52" | N | 26800 | 21.5 | 30.6 | 1.245 | 24.6 | 1140
c14015 | Schaefer | 523GP1-3 | Panel | 52" | N | 23900 | 23.4 | 24.3 | 1.019 | 23.9 | 960
c15070 | Schaefer | 523GP1-3V | Panel | 52" | N | 24700 | 23.8 | 26.2 | 1.039 | 25.2 | 1150
c16073 | Schaefer | 523GP1-3V-30 | Panel | 52" | N | 24900 | 23.5 | 25.7 | 1.06 | 24.2 | 1040
c14292 | Schaefer | 523GP1C-3 | Panel | 52" | N | 22400 | 24.9 | 21.2 | 0.9 | 23.5 | 900
c14303 | Schaefer | 523P1-3 | Panel | 52" | N | 24200 | 23.4 | 24.7 | 1.035 | 23.9 | 1090
c08043 | Schaefer | 523P1-3-SB | Panel | 52" | N | 24100 | 24.5 | 25 | 0.985 | 25.3 | 1150
c15072 | Schaefer | 523P1-3V | Panel | 52" | N | 23800 | 22.9 | 24.7 | 1.039 | 23.8 | 1090
c14017 | Schaefer | 523P1C-3 | Panel | 52" | N | 23900 | 23.4 | 25 | 1.021 | 24.5 | 1050
c08044 | Schaefer | 523P1C-3-SB | Panel | 52" | N | 24000 | 25.1 | 24.5 | 0.956 | 25.6 | 1080
c14290 | Schaefer | 543GP112-3 | Panel | 54" | N | 30400 | 20.9 | 35 | 1.458 | 24 | 1110
c14007 | Schaefer | 543GP1-3 | Panel | 54" | N | 26500 | 25.3 | 28 | 1.046 | 26.7 | 1010
c12385 | Schaefer | 543GP1-3V | Panel | 54" | N | 25900 | 27.4 | 25.7 | 0.944 | 27.2 | 920
c12389 | Schaefer | 543GP2-3 | Panel | 54" | N | 32100 | 18.8 | 39.5 | 1.707 | 23.1 | 1150
c14008 | Schaefer | 545GP1-3 | Panel | 54" | N | 26200 | 25.2 | 27.4 | 1.04 | 26.3 | 1010
c12384 | Schaefer | 545GP1-3V | Panel | 54" | N | 26000 | 26.9 | 25.9 | 0.966 | 26.8 | 880
c12388 | Schaefer | 545GP2-3 | Panel | 54" | N | 31700 | 19.3 | 38.5 | 1.639 | 23.5 | 1010
c14321 | Termotecnica Pericoli s.r.l. | ADF53 | Panel | 52" | N | 21000 | 26.9 | 18.3 | 0.779 | 23.5 | 640
c15257 | Termotecnica Pericoli s.r.l. | ADF53-3 | Panel | 52" | N | 21400 | 27.3 | 18.89 | 0.783 | 24.1 | 690
c16046 | Termotecnica Pericoli s.r.l. | ADF53-3L | Panel | 52" | N | 22600 | 24.6 | 21.9 | 0.918 | 23.9 | 870
c16049 | Termotecnica Pericoli s.r.l. | ADF53-3U | Panel | 53" | N | 21900 | 25 | 20.6 | 0.877 | 23.5 | 860
33557-A1 | Ventec Canada Inc. | 4114200 |  | 73" | N | 44562 | 24.24 | 44.25 | 1.838 | 24.1 |  | AMCA
| VES Environmental Solutions | BLT503230460V |  | 50" |  | 25523 | 20.76 | 29.862 | 1.2296 | 24.3
c09198 | VES Environmental Solutions | PF52CA3P | Panel | 52" | N | 22200 | 24.7 | 20.9 | 0.897 | 23.3 | 860